## 2023_MasterLocationList
Document: | Loss Factor Asset List for 2023 Loss Factors, in Accordance With Subsection 6 of Section 501.10 of ISO Rules, Transmission Loss Factors
Effective: | January 1, 2023
Version: | Public — August 16, 2022
Summary: | All loss factor locations and associated source assets expected to be in-service any time during 2023 (including any additions, changes, and terminations during 2023)
Colour Legend: | Additions and changes in 2022 | In-service throughout 2021 and additions and changes in 2022 and 2023
Location (MPID) | Facility Name | Location Type | EMMO Offer Basis | ASSET | Owner | Technology | Area Name | Number | PSS/E Bus | Date | Comments
0000001511 | FortisAlberta Reversing POD - Fort Macleod (15S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Fort Macleod | 53 | 4237 | 2020-01-01 | Continuing in-service
0000006411 | FortisAlberta Reversing POD - East Crossfield (64S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Solar | Airdrie | 57 | — | 2022-04-01 | New STS 1.1MW (Proj2194)
0000006511 | FortisAlberta Reversing POD - High River (65S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | High River | 46 | 4242 | 2022-11-01 | Change: STS 7.4 MW; increase of 6.4 MW from previous 1 MW [6(1)(c)] (Project 2317 (6.4 MW) )
0000006711 | FortisAlberta Reversing POD - Stirling (67S) | Reversing POD | N/A | ICP1 | FortisAlberta | Distribution-Connected - Other | Glenwood | 55 | 4280 | 2020-01-01 | Continuing in-service
0000006811 | FortisAlberta Reversing POD - Willesden Green (68S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Drayton Valley | 30 | — | 2021-10-01 | New: STS 2.9 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Proj2393)
0000010711 | FortisAlberta Reversing POD - Westfield (107S) | Reversing POD | N/A | WEF1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 4277 | 2021-02-01 | New: STS 16.3 MW;using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Proj2171)
0000012111 | FortisAlberta Reversing POD - Brooks (121S) | Reversing POD | N/A | BSC1 | FortisAlberta | Distribution-Connected - Solar | Brooks | 47 | 3256 | 2021-01-10 | Change: STS 27.5 MW; increase of 10.4 MW from previous 17.1 MW [6(1)(c)] (Proj2086 - Proj1837 - Proj2092(12 MW) )
0000013511 | FortisAlberta Reversing POD - Conrad (135S) | Reversing POD | N/A | CRD1, CRD2 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | — | 2021-08-01 | New: STS 36.4 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Proj1918 - Proj1959)
0000013711 | FortisAlberta Reversing POD - Sedgewick (137S) | Reversing POD | N/A | BHL1 | FortisAlberta | Distribution-Connected - Other | Wainwright | 32 | 4078 | 2020-01-01 | Continuing in-service
0000015111 | FortisAlberta Reversing POD - Strathmore (151S) | Reversing POD | N/A | STR1, STR2 | FortisAlberta | Distribution-Connected - Solar | Strathmore | 45 | — | 2021-09-01 | New: STS 36.2 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Proj2029 - Proj2030)
0000015811 | FortisAlberta Reversing POD - Vauxhall (158S) | Reversing POD | N/A | VXH1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 553274 | 2020-01-01 | Continuing in-service
0000016301 | FortisAlberta DOS - Plains Midstream Canada (163S) | DOS | N/A | — | FortisAlberta | Demand Opportunity Service | Empress | 48 | 262 | 2020-01-01 | Continuing in-service
0000019811 | FortisAlberta Reversing POD - Blackfalds (198S) | Reversing POD | N/A | BFD1 | FortisAlberta | Distribution-Connected - Other | Red Deer | 35 | 3113 | 2020-01-01 | Continuing in-service
0000021411 | FortisAlberta Reversing POD - Innisfail (214S) | Reversing POD | N/A | DKSN, INF1 | FortisAlberta | Distribution-Connected - Other | Didsbury | 39 | 557120 | 2020-06-01 | Continuing in-service
0000022911 | FortisAlberta Reversing POD - Glenwood (229S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Glenwood | 55 | 4245 | 2020-01-01 | Continuing in-service
0000023511 | FortisAlberta Reversing POD - Entwistle (235S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Wabamun | 40 | — | 2021-12-01 | New: STS 1.75 MW; using profile locations: all Gas - Simple Cycle [6(1)(e)(ii)] (Proj2108)
0000025411 | FortisAlberta Reversing POD - Coaldale (254S) | Reversing POD | N/A | COD1, ME04 | FortisAlberta | Distribution-Connected - Other | Lethbridge | 54 | 4690 | 2022-06-01 | Change: STS 22.9 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Proj1850)
0000025511 | FortisAlberta Reversing POD - Vulcan (255S) | Reversing POD | N/A | VCN1 | FortisAlberta | Distribution-Connected - Solar | Stavely | 49 | 557120 | 2021-09-01 | New: STS 17 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar (Proj1831 - Proj2335 (12.6 MW) )
0000025611 | FortisAlberta Reversing POD - Harmattan (256S) | Reversing POD | N/A | HMT1 | FortisAlberta | Distribution-Connected - Other | Didsbury | 39 | 124 | 2020-01-01 | Continuing in-service
0000025711 | FortisAlberta Reversing POD - Hull (257S) | Reversing POD | N/A | HUL1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 2401, 552402 | 2020-01-01 | Continuing in-service
0000027511 | FortisAlberta Reversing POD - Jenner (275S) | Reversing POD | N/A | JER1 | FortisAlberta | Distribution-Connected - Solar | Empress | 48 | — | 2021-05-01 | New: STS 13.1 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Proj1840)
0000027711 | FortisAlberta Reversing POD - Hayter (277S) | Reversing POD | N/A | BUL1, BUL2 | FortisAlberta | Distribution-Connected - Other | Provost | 37 | 220 | 2020-01-01 | Continuing in-service
0000033111 | FortisAlberta Reversing POD - Ponoka (331S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Wetaskiwin | 31 | 4090 | 2020-10-01 | Continuing in-service (Project 2231)
0000034911 | FortisAlberta Reversing POD - Stavely (349S) | Reversing POD | N/A | ALP2 | FortisAlberta | Distribution-Connected - Other | Stavely | 49 | 4235 | 2022-06-01 | Change: STS 14.1; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Proj1870)
0000036811 | FortisAlberta Reversing POD - Burdett (368S) | Reversing POD | N/A | BRD1, BUR1, ME03 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 2269 | 2021-01-01 | New: STS 25.5 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Proj1849 - Proj2241)
0000038511 | FortisAlberta Reversing POD - Spring Coulee (385S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Solar | Glenwood | 55 | 4246 | 2023-08-04 | Change: STS 29.5 MW; increase of 28.5 MW from previous 1.0 MW [6(1)(c)] (Project 1862(28.5 MW) )
0000039411 | FortisAlberta Reversing POD - Empress (394S) | Reversing POD | N/A | EMP1 | FortisAlberta | Distribution-Connected - Solar | Empress | 48 | — | 2022-05-01 | New STS 37.5 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Proj_2249 [22MW] - Proj2250 [15.5MW])
0000039611 | FortisAlberta Reversing POD - Pincher Creek (396S) | Reversing POD | N/A | — | FortisAlberta | Distribution-Connected - Other | Fort Macleod | 53 | 4224 | 2020-01-01 | Continuing in-service
0000042111 | FortisAlberta Reversing POD - Hays (421S) | Reversing POD | N/A | HYS1 | FortisAlberta | Distribution-Connected - Solar | Vauxhall | 52 | 4401 | 2021-06-01 | New: STS 13.4 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1839)
0000042811 | FortisAlberta Reversing POD - Namaka (428S) | Reversing POD | N/A | NMK1 | FortisAlberta | Distribution-Connected - Solar | Strathmore | 45 | — | 2021-08-01 | New: STS 15.5 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 1932)
0000044711 | FortisAlberta Reversing POD - Buffalo Creek (526S) | Reversing POD | N/A | ERV2 | FortisAlberta | Distribution-Connected - Other | Wainwright | 32 | 4079 | 2021-01-12 | New: STS 72 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Proj2362 [22 MW], Proj2363 [18 MW], Proj2364 [9.3 MW]Proj2365 [22.7MW])
0000049211 | FortisAlberta Reversing POD - Monarch (492S) | Reversing POD | N/A | MON1 | FortisAlberta | Distribution-Connected - Other | Lethbridge | 54 | — | 2021-09-01 | New: STS 20 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Proj1851)
0000049811 | FortisAlberta Reversing POD - Tilley (498S) | Reversing POD | N/A | ALP1, TIL1 | FortisAlberta | Distribution-Connected - Solar | Brooks | 47 | 3275 | 2023-09-04 | New: STS 20.8 MW (Proj1837)
0000052611 | FortisAlberta Reversing POD - Buffalo Creek (526S) | Reversing POD | N/A | ERV2 | FortisAlberta | Distribution-Connected - Other | Wainwright | 32 | 4079 | 2021-06-01 | New: STS 15.9 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 2272)
0000065911 | FortisAlberta Reversing POD - Pegasus (659S) | Reversing POD | N/A | GEN5 | FortisAlberta | Distribution-Connected - Other | Swan Hills | 26 | 325 | 2020-01-01 | Continuing in-service
0000079301 | FortisAlberta DOS - Cochrane EV Partnership (793S) | DOS | N/A | — | FortisAlberta | Demand Opportunity Service | Seebe | 44 | 191 | 2020-01-01 | Continuing in-service
0000089511 | FortisAlberta Reversing POD - Suffield (895S) | Reversing POD | N/A | NAT1, SUF1 | FortisAlberta | Distribution-Connected - Other | Medicine Hat | 4 | 3270 | 2020-08-01 | Continuing in-service (Project 1838)
311S033N | ATCO Electric Reversing POD - Elmsworth (731S) | Reversing POD | N/A | NPC1, NPC2 | ATCO Electric | Distribution-Connected - Other | Grande Prairie | 20 | 19134 | 2020-01-01 | Continuing in-service (Project 2394 (5MW) )
311S089N | ATCO Electric Reversing POD - Mercer Hill (728S) | Reversing POD | N/A |  | ATCO Electric | Distribution-Connected - Battery | Grande Prairie | 20 | 19109 | 2022-06-01 | New STS 16MW; using profile locations: all ATCO Electric Distribution-Connected - Other [6(1)(e)(i)] (Proj2387)
312S008N | ATCO Electric Reversing POD - Rycroft (730S) | Reversing POD | N/A | ERV1 | ATCO Electric | Distribution-Connected - Other | Grande Prairie | 20 | 19100 | 2020-11-01 | Continuing in-service (Project 2214)
312S025N | ATCO Electric Reversing POD - Mowat (2033S) | Reversing POD | N/A | MUL1, SDH1 | ATCO Electric | Distribution-Connected - Other | Grande Prairie | 20 | 19116 | 2020-01-01 | Continuing in-service
321S009N | ATCO Electric Reversing POD - Carmon (830S) | Reversing POD | N/A | WCD1 | ATCO Electric | Distribution-Connected - Other | Peace River | 19 | 19083 | 2020-01-01 | Continuing in-service
321S033 | ATCO Electric DOS - Mercer Peace River (839S) | DOS | N/A | — | ATCO Electric | Demand Opportunity Service | Peace River | 19 | 1088 | 2020-01-01 | Continuing in-service
325S009N | ATCO Electric Reversing POD - Hotchkiss (788S) | Reversing POD | N/A | — | ATCO Electric | Distribution-Connected - Other | Peace River | 19 | 19050 | 2020-01-01 | Continuing in-service
332S040N | ATCO Electric Reversing POD - Sarah Lake (743S) | Reversing POD | N/A |  | ATCO Electric | Distribution-Connected - Gas | Swan Hills | 26 | 18266 | 2022-03-01 | New STS 16.84 MW; using profile locations: all Gas - Cogeneration [6(1)(e)(ii)] (Proj2242)
372S025N | ATCO Electric Reversing POD - Lindbergh (969S) | Reversing POD | N/A | PEC1 | ATCO Electric | Distribution-Connected - Other | Cold Lake | 28 | 1444 | 2020-01-01 | Continuing in-service
AFG1TX | APF Athabasca | Self-supply | Net-to-grid | AFG1 | Alberta-Pacific Forest Industries | Biomass and Other | Athabasca | 27 | 392 | 2020-01-01 | Continuing in-service
AKE1 | McBride Lake Wind Facility | Source Asset | Gross | AKE1 | ENMAX Energy Corporation | Wind | Fort Macleod | 53 | 901 | 2020-01-01 | Continuing in-service
ANC1 | Alberta Newsprint | Self-supply | Gross | ANC1 | Alberta Newprint Company | Gas - Simple Cycle | Swan Hills | 26 | 298 | 2020-01-01 | Continuing in-service
ARD1 | Ardenville Wind Facility | Source Asset | Gross | ARD1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 739 | 2020-01-01 | Continuing in-service
BAR | Barrier Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 216 | 2020-01-01 | Continuing in-service
BCR2 | Bear Creek #2 | Self-supply | Gross | BCR2 | TransCanada Energy Ltd. | Gas - Cogeneration | Grande Prairie | 20 | 1142 | 2020-01-01 | Continuing in-service
BCRK | Bear Creek #1 | Self-supply | Gross | BCRK | TransCanada Energy Ltd. | Gas - Cogeneration | Grande Prairie | 20 | 1142 | 2020-01-01 | Continuing in-service
BIG | Bighorn Hydro Facility | Source Asset | Gross | BIG | TransAlta Alberta Hydro LP | Hydro | Abraham Lake | 34 | 103 | 2020-01-01 | Continuing in-service
BPW | Bearspaw Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 184 | 2020-01-01 | Continuing in-service
BR4 | Battle River #4 | Source Asset | Gross | BR4 | Heartland Generation | Dual Fuel | Alliance | 36 | 1491 | 2020-01-01 | Continuing in-service
BR5 | Battle River #5 | Source Asset | Gross | BR5 | Heartland Generation | Dual Fuel | Alliance | 36 | 1469 | 2020-01-01 | Continuing in-service
BRA | Brazeau Hydro Facility | Source Asset | Gross | BRA | TransAlta Alberta Hydro LP | Hydro | Drayton Valley | 30 | 153 | 2020-01-01 | Continuing in-service
BSR1 | Blackspring Ridge Wind Facility | Source Asset | Gross | BSR1 | EDF Renewables Canada | Wind | Stavely | 49 | 736 | 2020-01-01 | Continuing in-service
BTR1 | Blue Trail Wind Facility | Source Asset | Gross | BTR1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 328 | 2020-01-01 | Continuing in-service
CAS | Cascade Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 175 | 2020-01-01 | Continuing in-service
CES1/CES2 | Calgary Energy Centre | Source Asset | Gross | CAL1 | Calgary Energy Centre No. 2 Inc. | Gas - Combined Cycle | Calgary | 6 | 187 | 2020-01-01 | Continuing in-service
CHIN | Chin Chute Hydro Facility | Source Asset | Gross | CHIN | Irrigation Canal Power Co-operative Ltd. | Hydro | Lethbridge | 54 | 406 | 2020-01-01 | Continuing in-service
CL01 | Cenovus Christina Lake Industrial System | Self-supply | Gross | CL01 | Cenovus Energy | Gas - Cogeneration | Fort McMurray | 25 | 879 | 2020-01-01 | Continuing in-service
CLR1 | Claresholm Solar A Facility | Source Asset | Gross | CLR1 | Claresholm Solar LP | Solar | Stavely | 49 | 99004 | 2021-01-01 | New: STS 56.88 MW; using profile locations: BSC1, HUL1, VXH1 [6(1)(e)(ii)] (Project 1879)
CLR2 | Claresholm Solar B Facility | Source Asset | Gross | CLR2 | Claresholm Solar LP | Solar | Stavely | 49 | 99004 | 2021-01-01 | New: STS 73.13 MW; using profile locations: BSC1, HUL1, VXH1 [6(1)(e)(ii)] (Project 1879)
CMH1 | City of Medicine Hat | Self-supply | Gross | CCMH, CMH1 | City of Medicine Hat | City of Medicine Hat | Medicine Hat | 4 | 976 | 2020-01-01 | Continuing in-service
CNR5 | CNRL Horizon Industrial System | Self-supply | Net-to-grid | CNR5 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1263 | 2020-01-01 | Continuing in-service
CR1 | Castle River #1 Wind Facility | Source Asset | Gross | CR1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 234 | 2020-01-01 | Continuing in-service
CRE3 | Cowley Ridge Wind Facility | Source Asset | Gross | CRE3 | TransAlta Corporation | Wind | Fort Macleod | 53 | 264 | 2020-01-01 | Continuing in-service
CRR1 | Castle Rock Ridge Wind Facility | Source Asset | Gross | CRR1 | Enel Green Power | Wind | Fort Macleod | 53 | 221 | 2020-01-01 | Continuing in-service
CRR2 | Castle Rock Ridge Phase 2 Wind Facility | Source Asset | Gross | CRR2 | Enel Green Power | Wind | Fort Macleod | 53 | 221 | 2020-01-01 | Continuing in-service
CRS1 | Crossfield Energy Centre #1 | Source Asset | Gross | CRS1 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2020-01-01 | Continuing in-service
CRS2 | Crossfield Energy Centre #2 | Source Asset | Gross | CRS2 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2020-01-01 | Continuing in-service
CRS3 | Crossfield Energy Centre #3 | Source Asset | Gross | CRS3 | ENMAX Generation Portfolio Inc. | Gas - Simple Cycle | Airdrie | 57 | 503 | 2020-01-01 | Continuing in-service
DAI1 | Daishowa-Marubeni | Self-supply | Net-to-grid | DAI1 | Mercer Peace River Pulp | Biomass and Other | Peace River | 19 | 1089 | 2020-01-01 | Continuing in-service
DOWGEN15M | Dow Hydrocarbon Industrial Complex | Self-supply | Gross | DOWG | Dow Chemical Canada ULC | Gas - Cogeneration | Fort Saskatchewan | 33 | 61 | 2020-01-01 | Continuing in-service
DRW1 | Drywood #1 | Source Asset | Gross | DRW1 | BowArk Energy Ltd. | Gas - Simple Cycle | Glenwood | 55 | 4226 | 2020-01-01 | Continuing in-service
EAGL | Whitecourt Power | Source Asset | Gross | EAGL | Whitecourt Power Ltd. | Biomass and Other | Swan Hills | 26 | 410 | 2020-01-01 | Continuing in-service
EC01 | Cavalier | Self-supply | Gross | EC01 | ENMAX Cavalier LP | Gas - Combined Cycle | Strathmore | 45 | 340 | 2020-01-01 | Continuing in-service
EC04 | Foster Creek Industrial System | Self-supply | Gross | EC04 | Cenovus Energy | Gas - Cogeneration | Cold Lake | 28 | 1301 | 2020-01-01 | Continuing in-service
EGC1 | Shepard | Source Asset | Gross | EGC1 | ENMAX Shepard Services Inc. | Gas - Combined Cycle | Calgary | 6 | 772 | 2020-05-01 | Continuing in-service (Project 2270)
ENC1 | Clover Bar #1 | Source Asset | Gross | ENC1 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2020-01-01 | Continuing in-service
ENC2 | Clover Bar #2 | Source Asset | Gross | ENC2 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2020-01-01 | Continuing in-service
ENC3 | Clover Bar #3 | Source Asset | Gross | ENC3 | Capital Power (CBEC) L.P. | Gas - Simple Cycle | Edmonton | 60 | 516 | 2020-01-01 | Continuing in-service
EPS1 | Empress Industrial System, - Empress (394S) | [5 empty] | Empress | 48 | 2266 | 2022-06-01 | New STS 45.8 MW; using profile locations: all Gas - Cogeneration [6(1)(e)(ii)] (Proj2235)
FH1 | Fort Hills Industrial System | Self-supply | Gross | FH1 | Fort Hills Energy Corporation | Gas - Cogeneration | Fort McMurray | 25 | 1612 | 2020-01-01 | Continuing in-service
FNG1 | Fort Nelson | Self-supply | Gross | FNG1 | Powerex Corp. | Gas - Combined Cycle | Rainbow Lake | 17 | 20000 | 2020-01-01 | Continuing in-service
GHO | Ghost Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 180 | 2020-01-01 | Continuing in-service
GN1 | Genesee #1 | Source Asset | Gross | GN1 | Capital Power | Coal | Lake Wabamun | 40 | 525 | 2020-01-01 | Continuing in-service
GN2 | Genesee #2 | Source Asset | Gross | GN2 | Capital Power | Coal | Lake Wabamun | 40 | 525 | 2020-01-01 | Continuing in-service
GN3 | Genesee #3 | Source Asset | Gross | GN3 | Capital Power (G3) Limited Partnership | Coal | Lake Wabamun | 40 | 525 | 2022-11-02 | Change: STS 472.0 MW; increase of 6 MW from previous 466 MW [6(1)(c)] (Project 2305 (6 MW) )
GPEC | Grande Prairie EcoPower | Self-supply | Gross | GPEC | Canadian Forest Products Ltd. | Biomass and Other | Grande Prairie | 20 | 1101 | 2020-01-01 | Continuing in-service
GWW1 | Soderglen Wind Facility | Source Asset | Gross | GWW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 358 | 2020-01-01 | Continuing in-service
HAL1 | Halkirk Wind Facility | Source Asset | Gross | HAL1 | Capital Power | Wind | Hanna | 42 | 1435 | 2020-01-01 | Continuing in-service
HRM | H. R. Milner | Source Asset | Gross | HRM, HRM1 | Milner Power II Limited Partnership | Gas - Simple Cycle | Grande Cache | 22 | 1147 | 2022-04-12 | Change: STS 300 MW; increase of 92 MW from previous 208 MW [6(1)(c)] (Project 2350)
HRT1 | Heartland Petrochemical Complex Industrial System | Self-supply | Gross | HRT1 | Fengate Central Utilities Block | Gas - Cogeneration | Fort Saskatchewan | 33 | — | 2021-10-01 | New: STS 60 MW; using profile locations: all Gas - Cogeneration [6(1)(e)(ii)] (Project 1647)
HSH | Horseshoe Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 171 | 2020-01-01 | Continuing in-service
IEW1 | Summerview 1 Wind Facility | Source Asset | Gross | IEW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | 336 | 2020-01-01 | Continuing in-service
IEW2 | Summerview 2 Wind Facility | Source Asset | Gross | IEW2 | TransAlta Corporation | Wind | Fort Macleod | 53 | 336 | 2020-01-01 | Continuing in-service
INT | Interlakes Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 376 | 2020-01-01 | Continuing in-service
IOR1 | Cold Lake Industrial System | Self-supply | Gross | IOR1, IOR2 | Imperial Oil Limited | Gas - Cogeneration | Cold Lake | 28 | 1303 | 2020-01-01 | Continuing in-service
IOR3 | Kearl Oil Sands Industrial System | Self-supply | Net-to-grid | IOR3 | Imperial Oil Limited | Gas - Cogeneration | Fort McMurray | 25 | 1610 | 2020-01-01 | Continuing in-service
IOR4 | Strathcona Refinery Industrial System | Self-supply | Net-to-grid | IOR4 | Imperial Oil Limited | Gas - Cogeneration | Edmonton | 60 | 30694066 | 2020-08-01 | Continuing in-service (Project 2057)
JNR2 | Joss Jenner WAGF - Phase 2 (306S) | Source Asset | Gross | JNR2 | Jenner Wind 2 Limited Partnership | Wind | Medicine Hat | 4 | — | 2022-08-01 | New STS 71.4 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj1698)
JNR3 | Jenner Wind Phase 3 (306S) | Source Asset | Gross | JNR2 | Jenner Wind 3 Limited Partnership | Wind | Medicine Hat | 4 | — | 2022-08-01 | New STS 109.2 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj2234)
KAN | Kananaskis Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 193 | 2020-01-01 | Continuing in-service
KH2 | Keephills #2 | Source Asset | Gross | KH2 | TransAlta Generation Partnership | Gas Fired Steam | Lake Wabamun | 40 | 420 | 2020-01-01 | Continuing in-service
KH3 | Keephills #3 | Source Asset | Gross | KH3 | TransAlta Generation Partnership | Coal | Lake Wabamun | 40 | 510 | 2020-01-01 | Continuing in-service
KHW1 | Kettles Hill Wind Facility | Source Asset | Gross | KHW1 | ENMAX Kettles Hill Inc. | Wind | Fort Macleod | 53 | 402 | 2020-01-01 | Continuing in-service
MEG1 | MEG Christina Lake Industrial System | Self-supply | Net-to-grid | MEG1 | MEG Energy Corp. | Gas - Cogeneration | Fort McMurray | 25 | 405 | 2020-01-01 | Continuing in-service
MKR1 | Muskeg River Industrial System | Self-supply | Gross | MKR1 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1236 | 2020-01-01 | Continuing in-service
MKRC | MacKay River Industrial System | Self-supply | Gross | MKRC | TransCanada Energy Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1274 | 2020-01-01 | Continuing in-service
NEP1 | Ghost Pine Wind Facility | Source Asset | Gross | NEP1 | Ghost Pine Windfarm, LP | Wind | Hanna | 42 | 603 | 2020-01-01 | Continuing in-service
NOVAGEN15M | Joffre Industrial System | Self-supply | Net-to-grid | JOF1 | NOVA Chemicals | Gas - Cogeneration | Red Deer | 35 | 383 | 2020-01-01 | Continuing in-service
NPP1 | Northern Prairie Power Project | Source Asset | Gross | NPP1 | Grande Prairie Generation Inc. | Gas - Simple Cycle | Grande Prairie | 20 | 1118 | 2020-01-01 | Continuing in-service
NRG3 | NRGreen | Self-supply | Gross | NRG3 | NRGreen Power Limited Partnership | Biomass and Other | Swan Hills | 26 | 1674 | 2020-01-01 | Continuing in-service
NX01 | Nexen Balzac | Self-supply | Gross | NX01 | CNOOC International | Gas - Combined Cycle | Calgary | 6 | 198 | 2020-01-01 | Continuing in-service
NX02 | Nexen Long Lake Industrial System | Self-supply | Gross | NX02 | CNOOC International | Gas - Cogeneration | Fort McMurray | 25 | 1241 | 2020-01-01 | Continuing in-service
OMRH | Oldman River Hydro Facility | Source Asset | Gross | OMRH | ATCO Power Canada Ltd. | Hydro | Fort Macleod | 53 | 230 | 2020-01-01 | Continuing in-service
OWF1 | Oldman 2 Wind Facility | Source Asset | Gross | OWF1 | Oldman 2 Wind Farm Limited | Wind | Fort Macleod | 53 | 543 | 2020-01-01 | Continuing in-service
PH1 | Poplar Hill #1 | Source Asset | Gross | PH1 | Heartland Generation | Gas - Simple Cycle | Grande Prairie | 20 | 1118 | 2020-01-01 | Continuing in-service
PMB1 | West Pembina | Self-supply | Net-to-grid | PMB1 | Keyera Partnership | Gas - Simple Cycle | Drayton Valley | 30 | 4215 | 2020-10-01 | Continuing in-service (Project 2012)
POC | Pocaterra Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 329 | 2020-01-01 | Continuing in-service
PR1 | Primrose Industrial System | Self-supply | Gross | PR1 | Canadian Natural Resources Ltd. | Gas - Cogeneration | Cold Lake | 28 | 800 | 2020-01-01 | Continuing in-service
Proj_693 | Wild Rose 2 Wind Farm (547S) | Source Asset | Gross | - | NaturEner Energy Canada Inc. | Wind | Medicine Hat | 4 | — | 2022-08-15 | New: STS 192 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj693)
Proj_1250 | Wild Run Grizzly Bear Wind (708S) | Source Asset | Gross | - | Wild Run Limited Partnership | Wind | Lloydminster | 13 | — | 2022-10-01 | New: STS 120 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj1250)
Proj_1290 | Whitetail Peaking Station (976S) | Source Asset | Gross | - | Enbridge Inc. | Gas - Simple Cycle | Peace River | 19 | — | 2023-05-22 | New: STS 200 MW: using profile locations: SET1 [6(1)(e)(i)] (P1290)
Proj_1500 | Renewable Energy Service WAGF (423S) | Source Asset | Gross | - | Renewable Energy Services Ltd. | Wind | Fort Macleod | 53 | — | 2022-11-30 | New: STS 47 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj1500)
Proj_1533 | Joss MPC WAGF (306S) | Source Asset | Gross | - | Jenner 1 LP | Wind | Empress | 48 | — | 2022-08-30 | New: STS 122.4 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj1533)
Proj_1567 | EDPR Sharp Hills Wind Farm (363S) | Source Asset | Gross | - | EDP Renewables SH Project LP | Wind | Hanna | 42 | — | 2022-10-31 | New: STS 300 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj1567)
Proj_1718 | Wheatland WAGF Project (981S) | Source Asset | Gross | - | Wheatland Wind Project LP | Wind | Sheerness | 43 | — | 2022-06-30 | New: STS 120 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj1718)
Proj_1719 | Stirling WAGF Project (967S) | Source Asset | Gross | - | Irrican Power Ltd. | Wind | Empress | 48 | — | 2023-06-30 | New: STS 113 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj1719)
Proj_1812 | Suncor Forty Mile Granlea WAGF (1024S) | Source Asset | Gross | - | Suncor Energy Inc. | Wind | Medicine Hat | 4 | — | 2022-08-11 | New: STS 200 MW; using profile locations: all Suncor Wind [6(1)(e)(i)] (Proj1812)
Proj_1853 | Fortis Buffalo Atlee Cluster 1 WAGF (275S) | Reversing POD | N/A | - | FortisAlberta | Distribution-Connected - Other | Empress | 48 | — | 2022-09-01 | New: STS 12.3 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 1853)
Proj_1892 | Fortis Buffalo Atlee Cluster 3 WAGF DER (275s) | Reversing POD | N/A | - | FortisAlberta | Distribution-Connected - Other | Empress | 48 | — | 2022-09-01 | New: STS 4.6 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 1892)
Proj_1898 | Pattern Lanfine North Wind (601S) | Source Asset | Gross | - | Pattern Development Lanfine Wind ULC | Wind | Hanna | 42 | — | 2022-11-01 | New: STS 145 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj1898)
Proj_1909 | TransAlta Garden Plain Wind (1045S) | Source Asset | Gross | - | TransAlta Corporation | Wind | Hanna | 42 | — | 2022-08-15 | New: STS 130 MW; using profile locations: all TransAlta Corporation Wind [6(1)(e)(i)] (Proj1909)
Proj_2032 | Cascade Combined Cycle (1047S) | Source Asset | Gross | - | Cascade Power Project LP | Gas - Combined Cycle | Hinton/Edson | 29 | — | 2023-08-01 | New: STS 900 MW; using profile locations: all Gas - Combined Cycle [6(1)(e)(ii)] (Proj2032)
Proj_2059 | ATCO Three Hills 770S DER Solar 1 (770S) | Reversing POD | N/A | - | ATCO Electric | Distribution-Connected - Solar | Hanna | 42 | — | 2022-09-01 | New: STS 14.0 MW; using profile locations: all Distribution-Connected - Solar [6(1)(e)(ii)] (Project 2059)
Proj_2061_2248 | ATCO Michichi Creek 802S DER Solar (802S) | Reversing POD | N/A | - | ATCO Electric | Distribution-Connected - Solar | hanna | 42 | — | 2022-09-01 | New: STS 24.5 MW; using profile locations: all Distribution-Connected - Solar [6(1)(e)(ii)] (Projects 2061 and 2248)
Proj_2122 | Cypress Wind Project Connection (1019S) | Source Asset | Gross | - | Cypress Reneable Energy Centre LP | Wind | Medicine Hat | 4 | — | 2022-08-31 | New: STS 201.6 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj2122)
Proj_2195 | FortisAlberta Bassano 435S DER Solar (435S) | Reversing POD | N/A | - | FortisAlberta | Distribution-Connected - Solar | Brooks | 47 | — | 2023-02-01 | New: STS 9.25 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 2195)
Proj_2199 | FortisAlberta Buffalo Atlee Cluster 2 (275S) | Reversing POD | N/A | - | FortisAlberta | Distribution-Connected - Other | Empress | 48 | — | 2022-09-01 | New: STS 13.8 MW; using profile locations: all FortisAlberta Distribution-Connected - Other [6(1)(e)(i)] (Project 2199)
Proj_2216 | FortisAlberta Chappice Lake 649S DER Solar (649S) | Reversing POD | N/A | - | FortisAlberta | Distribution-Connected - Solar | Medicine Hat | 4 | — | 2022-09-30 | New: STS 10.5 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Project 2216)
Proj_2263 | BER Hand Hills MPC Wind (572S) | Source Asset | Gross | - | BluEarth Renewables Hand Hills Wind LP | Wind | Hanna | 42 | — | 2022-09-01 | New: STS 150.8 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj2263)
Proj_2266 | ATCO Seal Lake 869S DER Solar (869S) | Reversing POD | N/A | - | ATCO Electric | Distribution-Connected - Solar | Peace River | 19 | — | 2022-12-15 | New: STS 2.1 MW; using profile locations: all Distribution-Connected - Solar [6(1)(e)(ii)] (Project 2266)
Proj_2300 | RESC Enterprise MPC Solar (1070S) | Source Asset | Gross | - | Renewable Energy Systems Canada Inc. | Solar | Stavely | 49 | — | 2023-06-30 | New: STS 65 MW; using profile locations: all Solar [6(1)(e)(ii)] (Proj2300)
Proj_2314_2315 | FortisAlberta Joffre 535S DER Solar (535S) | Reversing POD | N/A | - | FortisAlberta | Distribution-Connected - Solar | Red Deer | 35 | 0 | 2022-12-19 | New: STS 40.8 MW; using profile locations: all FortisAlberta Distribution-Connected - Solar [6(1)(e)(i)] (Projects 2314 and 2315)
Proj_2346 | ATCO Vilna 777S DER Solar (777S) | Reversing POD | n/A | - | ATCO Electric | Distribution-Connected - Solar | Vegreville | 56 | — | 2022-11-01 | New: STS 2.7 MW; using profile locations: all Distribution-Connected - Solar [6(1)(e)(ii)] (Project 2346)
Proj_2413 | Cypress Wind Project Connection 2 (1019S) | Source Asset | Gross | - | Cypress Reneable Energy Centre LP | Wind | Medicine Hat | 4 | — | 2022-08-31 | New: STS 45.78 MW; using profile locations: all Wind [6(1)(e)(ii)] (Proj2413)
RB5 | Rainbow #5 | Self-supply | Gross | RB5, RL1 | Heartland Generation | Gas - Simple Cycle | Rainbow Lake | 17 | 83 | 2020-01-01 | Continuing in-service
RIV1 | Riverview Wind Facility | Source Asset | Gross | RIV1 | Enel Green Power | Wind | Fort Macleod | 53 | 69221 | 2020-01-01 | Continuing in-service
RTL1 | Rattlesnake Ridge Wind Facility | Source Asset | Gross | RTL1 | BHE Canada Rattlesnake G.P. | Wind | Medicine Hat | 4 | — | 2021-11-01 | New: STS 114MW; using profile locations: all Wind [6(1)(e)(ii)] (Project 2212)
RUN | Rundle Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 195 | 2020-01-01 | Continuing in-service
RYMD | Raymond Reservoir Hydro Facility | Source Asset | Gross | RYMD | Irrigation Canal Power Co-operative Ltd. | Hydro | Glenwood | 55 | 413 | 2020-01-01 | Continuing in-service
S09N | ENMAX Reversing POD - 9 Substation (SS-9) | Reversing POD | Gross | - | Enmax | Distribution-Connected - Cogen | Calgary | 6 | 4277 | 2021-09-01 | New: STS 4.8 MW; using profile locations: all Distribution-Connected - Other [6(1)(e)(ii)] (Proj2395)
SCL1 | Syncrude Industrial System | Self-supply | Net-to-grid | SCL1 | Syncrude Canada Ltd. | Gas - Cogeneration | Fort McMurray | 25 | 1200 | 2020-01-01 | Continuing in-service
SCR1 | Suncor Industrial System | Self-supply | Gross | SCR1, SCR5, SCR6 | Suncor Energy Inc. | Gas - Cogeneration | Fort McMurray | 25 | 1200 | 2020-01-01 | Continuing in-service
SCR2 | Magrath Wind Facility | Source Asset | Gross | SCR2 | Suncor Energy Inc. | Wind | Glenwood | 55 | 251 | 2020-01-01 | Continuing in-service
SCR3 | Chin Chute Wind Facility | Source Asset | Gross | SCR3 | Suncor Energy Inc. | Wind | Lethbridge | 54 | 389 | 2020-01-01 | Continuing in-service
SCR4 | Wintering Hills Wind Facility | Source Asset | Gross | SCR4 | Oldman 2 Wind Farm Limited | Wind | Sheernes | 43 | 759 | 2020-01-01 | Continuing in-service
SCTG | Scotford Industrial System | Self-supply | Gross | ALS1, APS1 | Shell Canada Limited | Gas - Cogeneration | Fort Saskatchewan | 33 | 43 | 2020-01-01 | Continuing in-service
SD6 | Sundance #6 | Source Asset | Gross | SD6 | TransAlta Generation Partnership | Gas Fired Steam | Lake Wabamun | 40 | 135 | 2020-01-01 | Continuing in-service
SET1 | South Edmonton Terminal | Source Asset | Gross | SET1 | Enbridge Pipelines | Gas - Simple Cycle | Edmonton | 60 | 3436 | 2021-02-01 | New: STS 19.8 MW; using profile locations: all Gas - Simple Cycle [6(1)(e)(ii)] (Project 2203)
SH1 | Sheerness #1 | Source Asset | Gross | SH1 | Heartland Generation | Gas Fired Steam | Sheernes | 43 | 1481 | 2020-01-01 | Continuing in-service
SH2 | Sheerness #2 | Source Asset | Gross | SH2 | Heartland Generation | Gas Fired Steam | Sheernes | 43 | 1486 | 2020-01-01 | Continuing in-service
SHCG | Shell Caroline | Self-supply | Net-to-grid | SHCG | Shell Canada Limited | Gas - Cogeneration | Caroline | 38 | 370 | 2020-01-01 | Continuing in-service
SLP1 | Slave Lake Pulp | Self-supply | Net-to-grid | SLP1 | West Fraser Mills Ltd. | Biomass and Other | High Prairie | 21 | 1230 | 2020-01-01 | Continuing in-service
SPR | Spray Hydro Facility | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 310 | 2020-01-01 | Continuing in-service
SUM1 | Summerview Energy Storage Facility | Source Asset | Gross | SUM1 | TransAlta Corporation | Energy Storage | Fort Macleod | 53 | 336 | 2020-11-01 | Continuing in-service (Project 2198)
TAB1 | Taber Wind Facility | Source Asset | Gross | TAB1 | ENMAX Energy Corporation | Wind | Vauxhall | 52 | 343 | 2020-01-01 | Continuing in-service
TAY1 | Taylor Hydro Facility | Source Asset | Gross | TAY1 | TransAlta Corporation | Hydro | Glenwood | 55 | 693 | 2020-01-01 | Continuing in-service
TC01 | Carseland Industrial System | Self-supply | Gross | TC01 | TransCanada Energy Ltd. | Gas - Cogeneration | Strathmore | 45 | 5251 | 2020-01-01 | Continuing in-service
TC02 | Redwater Industrial System | Self-supply | Gross | TC02 | TransCanada Energy Ltd. | Gas - Cogeneration | Fort Saskatchewan | 33 | 50 | 2020-01-01 | Continuing in-service
THS | Three Sisters Hydro Plant | Source Asset | Gross | BOW1 | TransAlta Alberta Hydro LP | Hydro | Seebe | 44 | 379 | 2020-01-01 | Continuing in-service
TVS1 | Travers Solar Facility | Source Asset | Gross | — | Greengate Power | Solar | Stavely | 49 | — | 2021-11-01 | New: STS 465 MW staged; using profile locations: BSC1, HUL1, VXH1 [6(1)(e)(ii)] (Proj2009 - Proj2341)
VVW1 | Valleyview #1 | Source Asset | Gross | VVW1 | Heartland Generation | Gas - Simple Cycle | Valleyview | 23 | 1172 | 2020-01-01 | Continuing in-service
VVW2 | Valleyview #2 | Source Asset | Gross | VVW2 | Heartland Generation | Gas - Simple Cycle | Valleyview | 23 | 1172 | 2020-01-01 | Continuing in-service
WEY1 | Weyerhaeuser | Self-supply | Gross | WEY1 | International Paper Canada | Biomass and Other | Grande Prairie | 20 | 1140 | 2020-01-01 | Continuing in-service
WHT1 | Whitla Wind Facility | Source Asset | Gross | WHT1 | Capital Power | Wind | Medicine Hat | 4 | 60990 | 2020-01-01 | Continuing in-service
WHT2 | Whitla Phase 2 Wind Facility | Source Asset | Gross | WHT2 | Capital Power | Wind | Medicine Hat | 4 | 60990 | 2021-08-01 | Change: STS 151.2 MW; increase of 54 MW from previous 97 MW [6(1)(c)] (Proj2338)
WRW1 | Windrise Wind Facility | Source Asset | Gross | WRW1 | TransAlta Corporation | Wind | Fort Macleod | 53 | — | 2021-05-01 | New: STS 207 MW; using profile locations: all TransAlta Corporation Wind [6(1)(e)(i)] (Project 2041)
WST1 | Westlock Power Plant | Source Asset | Gross | WST1 | DAPP Power LP | Biomass and Other | Athabasca/Lac La Biche | 27 | 14 | 2020-01-01 | Continuing in-service
BCHEXP | Alberta-BC Interite - Export | Export | N/A | BCHEXP | AltaLink | Export | WSCC | 15 | 1520 | 2020-01-01 | Continuing in-service
BCHIMP | Alberta-BC Interite - Import | Import | N/A | BCHIMP | AltaLink | Import | WSCC | 15 | 1520 | 2020-01-01 | Continuing in-service
MTEXP | Alberta-Montana Intertie - Export | Export | N/A | MTEXP | Berkshire Hathaway Energy | Merchant Export | Glenwood | 55 | 80000 | 2020-01-01 | Continuing in-service
120SIMP | Alberta-Montana Intertie - Import | Import | N/A | MATLIMP | Berkshire Hathaway Energy | Import | Glenwood | 55 | 80000 | 2020-01-01 | Continuing in-service
SPCEXP | Alberta-Saskatchewan Intertie - Export | Export | N/A | SPCEXP | AltaLink | Export | Empress | 48 | 1473 | 2020-01-01 | Continuing in-service
SPCIMP | Alberta-Saskatchewan Intertie - Import | Import | N/A | SPCIMP | AltaLink | Import | Empress | 48 | 1473 | 2020-01-01 | Continuing in-service
Disclaimer
The information provided above is for information purposes only. While the AESO strives to make the information provided above as timely and accurate as possible, the AESO makes no claims, promises, or guarantees about the accuracy, completeness, or
adequacy of the information provided above, and expressly disclaims liability for errors or omissions. As such, any reliance placed on the information contained herein is at the reader’s sole risk.